## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Civil Engg./CT

Subject: Construction Advanced-III(5007)/Construction Advanced(CE622)[Old/Rev.]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain the construction technique with movable forms. |  |
| b) | Enlist the merits and state the suitability of shell roofs. |  |
| c) | Describe the construction details with reinforced earth. |  |
| d) | Sate the suitability of following methods: (i) Infill panel construction of cladding (ii) Demolision by explosives. |  |
| e) | Explain the insertion procedure of casing for bore wells & state its necessity. (Only for students appearing under Old syllabus) |  |
| e) | Explain various damp prevention measures you undertake in a building. (Only for students appearing under revised syllabus) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of neat sketch explain the excavation procedure for basement structure, where the area is covered with loose soil. |  |
| b) | Describe the construction procedure of chimneys with slip forms. |  |
| c) | Stating its importance, explain how the lining work is carried out for silos. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how the bridge construction is carried out using increment push launching method. |  |
| b) | Explain pile connecting by adopting tremie and state necessary precautions to be taken. |  |
| c) | Distinguish between: (i) Formwork and false work (ii) Short crete and Pump crete. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Mention various types of mastics and sealants. State where each one of these are preferred. |  |
|  | (Only for students appearing under Old syllabus) |  |
| b) | Explain the procedure involved in ground water detection by electrical resistance method. |  |
| c) | Describe how do you determine the yield of wells. |  |
|  | (Only for students appearing under revised syllabus) |  |
| b) | List out various acoustic defects and necessary remedial measures needed. |  |
| c) | Explain the necessity of fire proofing. Describe how do you carry out fire proofing work for a multistoried building. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Stating the advantages, draw the sketch of North light roof truss. |  |
| b) | State the merits and demerits of pre-fabricated units. | ……2/- |
|  | -2- |  |
| c) | With the aid of neat sketch explain the construction of Monitor roof truss. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Safety precautions in demolition works |  |
| b) | Hand demolition |  |
| c) | Mass concreting |  |
| d) | Push arm demolition |  |

***********