## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Generation, Transmission & Dist.(5091)/(EE304) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define: i) Demand factor ii) utilization factor. |  |
| b) | What are the causes of failure of insulators? |  |
| c) | Why switch is not put in neutral wire? Briefly explain. |  |
| d) | State any 3 I.E. rules related to earthing. |  |
| e) | Briefly explain principle of operation of HVDC system. |  |
| f) | What is the use of surge tank incase of hydroelectric power plant? |  |
| g) | Give classification of AC distribution system based on number of wires. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a schematic line diagram of nuclear power plant and state function of each part. |  |
| b) | Explain in brief main components of a diesel generator set and state their functions. |  |
| c) | Describe wind power generation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the advantages and disadvantages of pin type insulators and suspension type insulators. |  |
| b) | State the various supports used in transmission of electric power. Explain any 2 with neat sketches. |  |
| c) | Explain the phenomena of corona. Also state the various methods to reduce its effect. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Define sag. Explain its effect on design of transmission system. |  |
| b) | Discuss voltage distribution and string efficiency with respect to transmission line. |  |
| c) | Compare 3 3 wire and 3 4 wire distribution system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain (i) Radial (ii) Ring and (iii) Interconnected system of connection. |  |
| b) | Derive and compare the volume of conductor material required in DC 2 wire system with AC single phase system. |  |
| c) | Discuss the I.E. rules for domestic wiring system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State advantages and disadvantages of concealed conduict wiring. |  |
| b) | With a neat diagram explain plate earthing. |  |
| c) | Draw the electrical circuit for PVC casing caping used in a house, the plan for which is shown in fig.6c. Assume height of the ceiling as 3.6m and plug point is to be provided in each room. Also, determine the total load and the main switch rating. | ……2/- |