## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Construction-IV(AE402) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Sketch & label any 3 extruded steel sections. |  |
| b) | Name any 3 compounds used in damp proofing of building structures. |  |
| c) | List any 3 methods of waterproofing. |  |
| d) | State the functions of Drip mould. |  |
| e) | State the role of bridging joist in timber floors. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State & explain three advantages of steel framed structure over R.C.C. framed structure. |  |
| b) | Sketch & explain various types of welds used in connecting steel work. |  |
| c) | Write a note on compression members in steel structural frames. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch any two types of stanchion bases. |  |
| b) | Draw a neat labelled sketch of ‘Latticing’ in steel frames. |  |
| c) | Draw details of various joints in steel roof truss. |  |
| Q.No.4. | Answer the following Questions: |  |
| a) | State the various causes of dampness and explain the need to prevent the same in a habitable building. | (3) |
| b) | State any 3 general principles followed on DPC construction. | (3) |
|  | ### OR |  |
| b) | Explain in brief i) guniting ii) grouting. | (3) |
| c) | Draw a neat labelled sketch of waterproofing treatment for a bathroom of size 1.2m x 2.1m having sink depth 20cms. | (6) |
|  | OR |  |
| c) | Draw a neat labelled sketch of water proofing treatment for basement resting on improperly drained soil. | (6) |
| Q.No.5. | Answer the following Questions: |  |
| a) | State any two objectives of cement plastering. | (3) |
| b) | Explain briefly steps followed in painting of newly plastered surface. | (3) |
|  | OR |  |
| b) | List any three different materials used for cladding and suggest locations where they could be adapted. | (3) |
| c) | Sketch any one type of plate girder. | (3) |
| d) | What does abbreviation ‘RSJ’ stand for. State the role of the component. | (3) |
| Q.No.6. | Answer the following Questions: |  |
| a) | Draw a neat labelled diagram for a timber floor to be provided over a room 5m x 3.5m with 30cm thick laterite support walls. | (6) |
|  | OR |  |
| a) | Using suitable materials, design a mezzanine floor for a shop over area 2.5m x 3.5m. Height of shop being 5m. | (6) …….2/- |
|  | -2- |  |
| b) | Name & explain the components that constitute various types of timber floors. | (6) |
|  | OR |  |
| b) | Write a brief note on RCC slab floor construction. | (6) |

***********