## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/C(5090) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define One tonne of Refrigeration. |  |
| b) | State the advantages and disadvantages of vapour compression Refrigeration system. |  |
| c) | State the function of the absorber in a simple vapour absorption system. |  |
| d) | State the advantages of Hermetically sealed compressor over open type compressor. |  |
| e) | Define DBT & DPT related to psychrometry. |  |
| f) | Sketch a simple psychrometric chart representing sensible heating process. |  |
| g) | State the functions of air washer in Air conditioning system. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State ‘Kelvin Planck’ statement and ‘Clausius’ statement. Explain how coefficient of performance is calculated of a Refrigeration system. |  |
| b) | State the desirable properties of ideal refrigerants. Give the application of Ammonia refrigerant. |  |
| c) | Explain the factors affecting the performance of vapour compression system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain construction and working of a central air conditioning plant. |  |
| b) | Explain the construction and working of an Electrolux refrigerator. |  |
| c) | Explain the working of a thermostatic expansion valve with a neat sketch. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the function of a fan in an air conditioning system? How are they classified? Explain any one in brief. |  |
| b) | Explain the working of an air washer used in air conditioning system with a neat sketch. |  |
| c) | Explain with a neat sketch, construction and working of a window Air conditioner. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain psychrometric chart. |  |
| b) | With the help of Psychrometric chart explain the following process: 1) Cooling and humidification 2) Cooling and dehumidification. |  |
| c) | Explain the working of a flooded type of Evaporator with a neat sketch. |  |
|  |  | ……..2/- |
|  | -2- |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | Vapour compression v/s Vapour absorption system |  |
| b) | Function of water in vapour absorption system |  |
| c) | Practical applications of Ice plant |  |
| d) | Time switches in Air conditioning system |  |

***********