## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(MX403) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain what is a Piezo-electric transducer? |  |
| b) | Describe EEG electrode placement. |  |
| c) | What are the general requirements of an audiometer? |  |
| d) | Describe briefly, radiographic method of measurement of blood flow. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the working of barrier layer cells. |  |
| b) | What is a strain gauge pressure transducer? Explain the principle of bonded strain gauge. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram of ECG. |  |
| b) | Explain what is a Ballistocardiograph and Electrooculograph? |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What is an audiometer? Explain a pure tone audiometer. |  |
| b) | With the help of a block diagram explain a digital hearing aid. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the indicator dilution method of blood flow measurement. |  |
| b) | Explain oximetry in brief. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Potentiometric transducer |  |
| b) | Electromyograph |  |
| c) | Thermocouple |  |
| d) | Phonocardiograph |  |

***********