## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./EI

Subject: Industrial Automation(EN616) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List any six benefits of automation. |  |
| b) | Explain in brief how automation can be applied to the following fields: i) process industry ii) automobiles. |  |
| c) | State and explain in brief the three main processor operating modes. |  |
| d) | What do you mean by remote racks in PLC? |  |
| e) | Explain in brief relay output modules of PLC. |  |
| f) | Draw ladder rungs and explain output latch and unlatch instructions. |  |
| g) | Draw and explain the ladder diagram for implementing ‘AND’ gate using three inputs. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain various sections of PLC in brief. |  |
| b) | List and explain any six application specific modules in PLC. |  |
| c) | Explain in brief types of redundancy in PLC systems. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain working of discrete AC input module. |  |
| b) | Write a short note on I/O addressing of analog modules of PLC. |  |
| c) | What is IEC–1131-3 programming standard? List the five programming languages defined in this standard. Explain instruction list language. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on the following programming languages of IEC-1131-3: i) Ladder diagram programming ii) Structured text language. |  |
| b) | Explain in brief ON delay timer and OFF delay timer instructions. |  |
| c) | Develop a ladder diagram for a bottle filling unit with the following processes:- - The system has two motors, ‘M1’ to carry empty bottles to the fluid tank and ‘M2’ to carry filled bottles for packaging. - Motor ‘M2’ should start once ‘start’ push button is pressed and remain on till ‘stop’ push button is pressed. - Motor ‘M1’ is energized once ‘M2’ starts and stops when limit switch detects bottle in correct position. - Once bottle is in position and 0.5 seconds have elapsed ‘valve’ should open and liquid is poured in bottle. - Once ‘photoeye’ senses proper level of liquid in bottle, ‘valve’ is closed and bottle remains in position for 0.7 seconds and then the ‘filled bottle’ gives signal to motor ‘M1’ to start again and process continues. |  |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the ladder rung and explain the working of following comparison instructions:- i) Greater than ii) Less than equal. |  |
| b) | i) Explain in brief operation of count up counter. ii) Draw the ladder diagram for controlling a motor using two push buttons. ‘Motor’ should start when ‘start’ push button is pressed and remain ON even if it is released. Motor should stop working once ‘stop’ push button is pressed |  |
| c) | Draw the ladder diagram for the following two motor systems having conditions given below: i) starting ‘start’ push button starts ‘motor 1’ ii) After 10 seconds ‘motor 2’ is turned ON iii) pressing ‘stop’ push button stops both the motors. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the ladder diagram for the following conveyor belt: - System has three segmented conveyor belts, each segment run by a motor - Motor ‘M1’ starts as soon as ‘start’ switch is pressed - After 10 second ‘M1’ goes off and motor ‘M2’ starts - After another 5 seconds ‘M2’ goes off and ‘M3’ starts - After 10 seconds ‘M3’ goes off and ‘M1’ starts and cycle is repeated |  |
| b) | Draw a ladder diagram for temperature control system with following conditions: - A temperature control system consists of three thermostats and three heating units. - Thermostats are set for 55C, 60C and 65C. - Below 55C all three heaters should be ON - Between 55-60C any two heaters should be ON - Between 60-65C any one heater should be ON - Above 65C all heaters should be off. |  |
| c) | Write a short note on input and output modules trouble shooting in a PLC. |  |

***********