## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Imaging(MX502) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain nature of X-rays. |  |
| b) | What is the basic principle of computed tomography? |  |
| c) | What is the application of medical thermography? |  |
| d) | What are the characteristics of the real time systems in ultrasonic imaging? |  |
| e) | Describe the basis of diagnostic radiology. |  |
| f) | Describe the system components in CT. |  |
| g) | What are collimators & Grids? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the basic components of NMR by using a neat diagram. |  |
| b) | Explain medical ultrasound & its classification. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction & working of the CT system with a neat diagram. |  |
| b) | Explain the principle of x-ray image intensifier with a neat diagram. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction & working of stationary anode tube with a neat diagram. |  |
| b) | What are the different properties of ultrasound which makes it an imaging modality? |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the first generation in scanning system of CT with a neat diagram. |  |
| b) | What are the advantages & disadvantages of Rotating anode tube? |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | What are the disadvantages of third generation CT Scanner? |  |
| b) | What are the different biological effects of NMR imaging? |  |
| c) | Write a note on fluorescent screen. |  |
| d) | What is medical thermography? |  |

***********