## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg.

Subject: Energy Systems(Non Conventional)[EE514] [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write down any three advantages of non-conventional energy sources. |  |
| b) | Explain briefly what is anaerobic digestion. |  |
| c) | Write down any three disadvantages of a solar photovoltaic system. |  |
| d) | Write any three points of difference between concentrating and non-concentrating solar collectors. |  |
| e) | List down the main components of a solar photovoltaic system. |  |
| f) | Write down any three disadvantages of using wind energy. |  |
| g) | Write down any three applications of a solar pond. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss briefly the various non-conventional sources. |  |
| b) | Explain any three advantages and three disadvantages of conventional energy sources. |  |
| c) | i) Explain the importance of non-conventional sources in the present energy situation. ii) Explain briefly the principle of a photovoltaic cell. | (3) (3) |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a solar furnace with help of a sketch. |  |
| b) | Describe briefly with help of a sketch, a central tower solar receiver system. |  |
| c) | Explain the construction and working of a box type solar cooker with a neat sketch |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a block diagram, explain briefly a solar photo-voltaic water pumping system. |  |
| b) | Write a note on ‘Solar photo-voltaic lighting’. |  |
| c) | With the help of a schematic diagram, explain a typical photovoltaic grid tied system without battery backup. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the various steps involved in sizing of a solar photovoltaic system. |  |
| b) | Write a note on ‘Grounding of photo-voltaic power systems’. |  |
| c) | How are wind energy conversion systems classified? Explain in brief. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the various factors affecting the distribution of wind energy on the surface of the earth. |  |
| b) | i) Explain briefly the working of a packed bed exchanger storage unit with the help of a sketch. ii) What do you understand by ‘direct combustion’? | (4) (2) |
| c) | Explain briefly the working and construction of a floating drum type biogas plant. |  |

***********