## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treat.(4274)/(FT406) [Old/Rev.]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Briefly discuss the significance of index microorganisms in water. Name these microorganisms. |  |
| b) | What are the common impurities present in water? Discuss in detail. |  |
| c) | Give the quality requirements of portable water. |  |
| d) | Give the principle involved in the estimation of (i) acidity (ii) Chlorides OR (i) Total solids (ii) Sulphates. |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | With the help of a neat flow chart discuss in detail the specific treatment methods for a soft drink plant. | (6) |
|  | ### OR |  |
| a) | With the help of a neat flow chart discuss in detail the specific treatment methods for a Dairy Plant. | (6) |
| b) | What is BOD? Discuss in detail its estimation. | (6) |
| Q.No.3. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Waste from meat & fish processing plants |  |
| b) | Types of filters in water treatment |  |
| c) | Residual chlorine and Break point chlorination |  |
| d) | Activated sludge process |  |
| Q.No.4. | How would you: (any 3) | 3 x 4 = 12 |
| a) | Estimate the coliforms present in a water sample |  |
| b) | Estimate the total hardness of a water sample |  |
| c) | Estimate the carbonates & bicarbonates present in a water sample |  |
| d) | Estimate the DO of a water sample |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the pollution hazards on the disposal of water without treatment. |  |
| b) | Comment on the physical characteristics of waste. |  |
| c) | Discuss in detail the chemical methods of water softening. |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat flow chart discuss the typical Sewage Treatment Plant. |  |
| b) | Discuss in detail the routine bacteriological tests carried out on a water sample. |  |

***********