## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Electronics & Drive Control(5102)/(EE502) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is the purpose of using a free wheeling diode? |  |
| b) | Differentiate between SCR and GTO. |  |
| c) | Draw the circuit and briefly explain single phase half wave converter drive. |  |
| d) | State principle of ac voltage controller operation. |  |
| e) | Draw VI characteristics and symbol for PUT. |  |
| f) | Briefly explain principle of ON-OFF control. |  |
| g) | What are solid state relays? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat circuit diagram explain working of second quadrant chopper. |  |
| b) | Explain working of 3 phase bridge rectifier. |  |
| c) | With the help of circuit diagram and waveforms explain working of modified series inverter. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram and waveforms explain working of single phase bridge inverter. |  |
| b) | Explain VI characteristics of thyristor in detail. |  |
| c) | Write a note on frequency control method of AC motors. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State methods for turning on SCR (thyristor). Which is the most appropriate? Explain in brief. |  |
| b) | With the help of diagram explain working of buck-boost regulator. |  |
| c) | Write a note on snubber circuit and current protection for SCR’s. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain principle of operation of phase controlled converter with help of neat diagram and input output waveforms. |  |
| b) | Explain thyristor firing circuit with PUT with neat diagram and examples. |  |
| c) | How is it possible to provide isolation between power circuit and control circuit in thyristorised devices? Draw and explain any method. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a note on fast recovery diode and schottky diode. |  |
| b) | With help of neat diagrams explain phase control methods in ac voltage controllers. |  |
| c) | With the help of neat diagram explain control of Induction motor stator voltage. |  |

***********