## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Substation Practices(5105)/(EE602) [Old/Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Compare outdoor substation with indoor substation. |  |
| b) | Draw a neat diagram of 1½ breaker bus bar arrangement scheme and state its merits. |  |
| c) | List the general specifications for procurement of PT. |  |
| d) | What is a Load break switch? How is it different from isolator? |  |
| e) | What is the difference between cubicle type and corridor type control and relay panels? |  |
| f) | Give the importance of mimic diagram on control and relay panel & draw a simple mimic diagram. |  |
| g) | Give any three main components of HVDC substation and state their function. (Only for students of old scheme) |  |
| g) | State objectives of tariff. (Only for students of revised scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain the classification of substations depending on their purpose. |  |
| b) | With a neat diagram explain double bus double breaker arrangement. State its merits. |  |
| c) | Explain why secondary circuit of current transformer should never be opened while its primary is energized. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of PLCC system and briefly explain the function of each component. |  |
| b) | Explain in brief block rate tariff and two part tariff. State their merits. |  |
| c) | What are the causes and drawbacks of a low power factor? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare isolated neutral system with grounded neutral system. |  |
| b) | State and explain causes of overvoltages in a power system. |  |
| c) | With a neat diagram explain the construction and working of horn gap arrestor. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the general construction of a 3-core power cable with a neat sketch. |  |
| b) | Explain the differences between power cables and control cables. State their applications. |  |
| c) | With a neat diagram explain direct laying method for cable. State its advantages & disadvantages. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on care and maintenance of lead acid batteries. | …..2/- |
|  | -2- |  |
| b) | What is silica gel? Explain the use of silica gel. How is it reactivated? |  |
| c) | What do you mean by line clearance in a Substation? What precautions are to be taken by the operator before issuing line clearance to maintenance staff? |  |

***********