## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(4197) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain noise equivalent bandwidth with a neat waveform. |  |
| b) | What are the different properties of X-rays which makes it suitable in imaging modality? |  |
| c) | What are the vital functions of Neonatal incubators? |  |
| d) | What are the safety aspects of indifferent electrode? |  |
| e) | What is evoked response audiometry? |  |
| f) | Why PMS has become an important part in ICU & CCU? |  |
| g) | What are the different effects of current on the human body? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle of dialyzer in the artificial kidney with a neat diagram. |  |
| b) | What is telemedicine? Explain how it is used in medical field? |  |
| Q.No.3. | Answer the following Questions: |  |
| a) | Define X-rays. | (2) |
| b) | How image resolution can affect the image quality? | (2) |
| c) | How second generation of a CT scanner was considered as advancement over the first generation? | (4) |
| d) | What is haemodialysis? | (2) |
| e) | What is the function of return electrode in ESU? | (2) |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain how ECG is analysed by using computers. |  |
| b) | Explain the different leakage tests carried out in patient’s leads. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the different things which should be available in a cathlab? |  |
| b) | What are the different applications of LASER in medical field? |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | Define audiometers & mention its types. | (3) |
| b) | What is Lithotripsy? | (2) |
| c) | List any three advantages of rotating anode over stationery anode tube. | (3) |
| d) | What is modulation transfer function? | (2) |
| e) | List any two advantages of ESU in surgery. | (2) |

***********