## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(4110)/EE501) [Old/Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | A 11 KV, 10 MVA generator has 0.10 p.u. reactance referred to its ratings as bases. The new base chosen for calculations are 33 KV and 25 MVA. Calculate new p.u. reactance. |  |
| b) | State different types of faults occurring in power systems. What do you mean by symmetrical and unsymmetrical faults? |  |
| c) | Define the following terms with respect to a fuse: (i) Fusing current (ii) Total operating time (iii) Breaking capacity. |  |
| d) | What are the advantages of using fuse as a protective device? |  |
| e) | Define (i) making capacity (ii) breaking capacity, of a circuit breaker. |  |
| f) | State the limitations of Buchholz relay. |  |
| g) | State any three basic requirements of protective relaying. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | i) What is the necessity of current limiting reactor? |  |
|  | ii) State the advantages of using p.u. method in fault calculation. |  |
| b) | Give any six points of comparison between rewirable fuse and HRC fuse. |  |
| c) | With a neat diagram explain the working of ELCB. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagrams explain any two pressure chambers employed in self blast oil circuit breakers. |  |
| b) | With a neat diagram explain arc extinction in SF6 circuit breaker using puffer piston arrangement. |  |
| c) | State the methods of arc interruption in A.C. circuit breakers. Explain them in brief. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the working of induction type overcurrent relay (Non-directional) with the help of a neat diagram. |  |
| b) | With a neat diagram explain working of current differential relay. |  |
| c) | i) Explain working of solenoid plunger type attraction relay. |  |
|  | ii) Explain shaded pole structure used for obtaining phase difference in fluxes in induction relays. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the advantages of static relays. |  |
| b) | With a neat diagram explain differential scheme for bus bar protection. |  |
| c) | What do you understand by single phasing of a three phase induction motor? Describe in brief how the motor can be protected against single phasing. |  |
|  | -2- |  |
| d) | With a neat diagram explain overload and earth fault protection of alternator. (Only for students of old scheme) |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain time graded protection of radial feeders. State its drawback. |  |
| b) | Explain in brief principle of operation of air blast circuit breaker. With the help of a neat diagram explain the working of axial blast air circuit breaker. |  |
| c) | Explain the principle of operation of HVDC circuit breaker. |  |
| d) | With neat diagram explain restricted earth fault protection for transformer. Why it is called restricted earth fault protection? (Only for students of old scheme) |  |

***********