## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Computer Control In Process Plant(EN608) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw the block diagram of a centralized computer control system. |  |
| b) | Write short note on Final control operation. |  |
| c) | Define ‘Process Lag’ and ‘Self Regulation’. |  |
| d) | Explain the concept of ‘Ïnterrupt Scanning’’ in SCADA. |  |
| e) | State any three advantages of Distributed Control System. |  |
| f) | List any two controller system parameters and explain them. |  |
| g) | Compare Distributed and Centralized Computer Control Systems. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the Hierarchical Control System. |  |
| b) | What do you understand by ‘Discontinuous Controller Modes’? Explain any one in detail. |  |
| c) | With relevant diagram, explain Feed Forward Control. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram, explain the working of a DC motor. |  |
| b) | Explain the working of a Pneumatic Actuator for converting pressure signal into mechanical shaft motion. |  |
| c) | Give any one practical example of actuator and control valve in a process control loop and explain the same. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the ‘Proportional’ controller mode with relevant equations and waveforms. |  |
| b) | What are Composite Controller Modes? List them and explain any one in detail. |  |
| c) | Explain Fuzzy Logic System. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of SCADA and explain its various functions. |  |
| b) | Explain star configuration of distributed SCADA with necessary diagram. |  |
| c) | What is a Remote Terminal Unit? Explain its different parts. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List the functional requirements of a Distributed process control system. |  |
| b) | In a Distributed control system, explain the role of: (i) Plant operator (ii) Maintenance Engineer (iii) Design /Development Engineer |  |
| c) | Draw the hierarchy diagram for a Distributed control system and explain the different levels. |  |

***********