## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Equipment Maintenance(MX511) [Revised]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What do you understand by the failure rate of an equipment? Explain with an example. |  |
| b) | Write a short note on damp heat acceleration of an electronic equipment. |  |
| c) | List the objectives of Maintenance Management. |  |
| d) | Briefly comment on planning of spare parts inventory. |  |
| e) | Explain system earthing and equipment earthing in brief. |  |
| f) | What is a Transformer? Explain in brief. |  |
| g) | Briefly explain any two faults, causes and solutions while troubleshooting an ECG machine. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the Divergent path and Feedback path troubleshooting methods in brief. |  |
| b) | Define the following terms: i) Troubleshooting ii) Acceptance Test iii) Calibration iv) Breakdown maintenance. |  |
| c) | Write a short note on nature of faults. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List the important factors on which the maintenance policy depends upon. |  |
| b) | Briefly comment on essentials of a good equipment management programme. |  |
| c) | Explain in detail the general contract provisions to be incorporated in the contract with the service providers for maintenance of equipment. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the type of earthing electrodes in brief. |  |
| b) | Define Earthing. Briefly explain the purpose of earthing. |  |
| c) | Write a short note on miniature circuit breaker. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the principle of operation of a DC motor. |  |
| b) | Describe the construction and principle of working of Transformer with a neat diagram. |  |
| c) | Write a short note on construction of permanent magnet DC motor. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the function and operation of an Electrosurgical unit and cautery machine. |  |
| b) | What is a nebulizer? Explain the function and operation of a nebulizer. |  |
| c) | Briefly explain the operation of an anaesthetic machine. |  |

***********