## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(MX501) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is Gross shock? How it is caused? |  |
| b) | Define Desiccation. |  |
| c) | What does the Cardioscope consists of? |  |
| d) | How classification of pacemakers is done? |  |
| e) | What are the disadvantages of external pacemakers? |  |
| f) | What are the different risks associated with electrosurgery? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the different electrodes used in the defibrillators. |  |
| b) | Explain the different leakage tests carried out in patient’s leads. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the different safety measures to be taken while handling the Dispersive electrode in ESU? |  |
| b) | Explain the construction & working of bedside patient monitoring systems with a neat diagram. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain implantable pacemakers with a neat diagram. |  |
| b) | Describe different types of leakage currents. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Mention the difference between a standard defibrillator & an AED. |  |
| b) | Describe the safety aspects involved in LASERS used in medical field. |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Write a note on blood pressure measurement. |  |
| b) | What is cardiac monitor? |  |
| c) | How does leakage current occurs? |  |
| d) | What is the importance of Ground continuity test? |  |
| e) | Which are the different types of electrodes used in a defibrillator? |  |

***********