## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State three advantages of electrical transducer over mechanical transducer. |  |
| b) | List out the characteristics of a transducer. |  |
| c) | State at least four characteristics of an ideal operational amplifier. Also state at least two importance features of an instrumentation amplifier. |  |
| d) | What is the need for signal conditioning? |  |
| e) | State the various elements of process control & define any two of them of your choice. |  |
| f) | Give two techniques of i) Level measurement ii) Angular speed iii) High and medium pressure measurement. |  |
| g) | State the types of control signals and actuators. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the function of LVDT? Draw its neat labelled diagram and explain its working in brief. What is its residual voltage? |  |
| b) | Explain the operation of a strain gauge in brief. State the types of strain gauges. Also define gauge factor. |  |
| c) | Give three points of distinction between: i) RTD and Thermistor ii) Photodiode and Photoresistor |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain in brief the different ways in which capacitive transducers attain variation in capacitance, with the help of neat diagram. State any two applications of capacitive transducer. |  |
| b) | State the various techniques of achieving variation in self and mutual inductance. Explain in brief transducers used for such variation. |  |
| c) | State the working principle of a thermocouple. Explain it in brief. Also state its limitations & application. What are its important features? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in brief principle of operation as well as important features of turbine flow meter. |  |
| b) | State the techniques used in vibration measurement and explain any one of such techniques of your choice with the help of neat labelled diagram. Also state its two advantages & disadvantages. |  |
| c) | State the techniques used in thickness measurement and explain any one of such method of your choice with the help of neat diagram. Also, state its two advantages and disadvantages. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw block diagram of signal conditioning system and explain function of each block of brief. | …….2/- |
|  | -2- |  |
| b) | Draw a block diagram of data acquisition system and explain in brief the function of each block. |  |
| c) | Define the following terms: i) Process parameters (any two) ii) Control system parameters (any two) Illustrate with one example. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Classify controller modes. Explain in brief each controller mode with the help of one example each. |  |
| b) | Draw a block diagram of Computer supervisory control & explain it in brief. |  |
| c) | State the types of control elements. Explain the function of each element with the help of an example of process for which it is used? |  |

***********