## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Electrical Engg.

Subject: Energy Management(5108)/(EE611) [Old/Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Briefly explain the quality parameters of incoming electric supply. (any three) |  |
| b) | List down the benefits of energy conservation for industries. |  |
| c) | Calculate the maximum demand for following cycle of 30 minutes load. 5000 KVA for 4 minutes, 7200 KVA for 12 minutes, 8200 KVA for 6 minutes, 7800 KVA for 8 minutes. |  |
| d) | Define percentage loading of motor and explain its significance with respect to energy performance. |  |
| e) | List down the different situations for which preliminary energy audit is done. |  |
| f) | Write short note on occupancy sensors. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain the different methods to attain flattening of load curve. |  |
| b) | Write a short note on energy strategies for the future. |  |
| c) | Define energy audit. Explain the need of energy audit. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | i) Why surcharge is levied if the energy meter is installed on LT side? ii) Briefly explain Time of Duty component of electric billing. iii) List down the advantages of electronic energy meter. |  |
| b) | List down the cost benefits and technical advantages of power factor improvement. |  |
| c) | Explain the different methods of sizing of capacitors for power factor improvement. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List down the different methods for determination of percentage loading of motor. Explain the method which involves measurement of current. What are the disadvantages of this method? |  |
| b) | i) Define the terms 1) Colour Rendering Index 2) Installed Load Efficacy Ratio. ii) List down the areas to be considered for improvement of energy performance of lighting system. |  |
| c) | A chemical industry had installed a 1500KVA transformer. The initial demand was 1160 KVA at p.f. of 0.7. Determine i) Percentage loading of transformer ii) Capacitors in KVAR required to improve p.f. to 0.89 iii) New KVA and new percentage loading of transformer. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the procedural steps for assessment of energy performance of lighting system. |  |
| b) | Explain the procedural steps for assessment of energy performance of hydraulic pumps. | ……2/- |
|  | -2- |  |
| c) | Draw the schematic graph comparing energy performance of Energy Efficient Motor and Conventional Motors and explain. List down the advantages of Energy Efficient Motors. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short note on Maximum Demand Controller. |  |
| b) | Write short note on VFD. |  |
| c) | Draw the profile of current and mechanical stress comparing conventional starters v/s soft starters and explain. |  |

***********