## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Civil Engg./CT

Subject:Maint. of Civil Engg. Struct.(5003)/Maint. & Repair of Civil Struct.(CE625)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the necessity and objectives of maintenance. |  |
| b) | Enlist the types of inspections required for building maintenance. |  |
| c) | What are the causes of leakage of water in pipes? |  |
| d) | Explain natural breaches in canal banks. |  |
| e) | Explain the causes of failure of flexible pavements in case of roads. |  |
| f) | Explain the importance of safety in maintenance works. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the types of repair estimates. |  |
| b) | Explain the factors influencing the maintenance. |  |
| c) | Explain the safety requirements in demolition of structure. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain anti-termite treatment of masonry foundation and basement. |  |
| b) | Explain the rehabilitation of fire damaged R.C.C. elements like slabs, beams and columns. |  |
| c) | Describe the maintenance of house drainage systems. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Enlist and explain the principles of maintenance of water distribution system. |  |
| b) | What is preventive maintenance in case of sewers? Explain the precautions to be taken before entering into the sewer lines. |  |
| c) | Explain the maintenance of railway/permanent way. (only for students of Revised scheme) |  |
| c) | Explain the common defects of bituminous roads. (only for students of Old scheme) |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the factors affecting highway maintenance. Also describe the types of maintenance. |  |
| b) | Enlist the types of maintenance to be carried out for canals. Explain how the canal profiles are maintained. |  |
| c) | Explain in detail the process of rehabilitation of marine structure. (only for students of Revised scheme) |  |
| c) | Describe the different methods for weed control in case of canals. (only for students of Old scheme) |  |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Cement grouting for hydraulic structures |  |
| b) | Seepage control in hydraulic structures |  |
| c) | Repair of potholes |  |
| d) | Routine inspection of hydraulic structure (only for students of Old scheme) |  |
| e) | Canal silt removal (only for students of Old scheme) |  |
| f) | Shore protection works (only for students of Revised scheme) |  |

***********