## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain Coulters counter used for blood cell counting. |  |
| b) | Describe how sterilisation can be done using a steamer. |  |
| c) | Explain the use of computers in clinical laboratory. |  |
| d) | Write a short note on ultrasonic vibration. |  |
| e) | Name any three biochemical transducers. |  |
| f) | Explain the Nernst equation. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the principle of working of spectrophotometer. |  |
| b) | Explain the operation of clinical laboratory in detail. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the test carried out to test disinfection. |  |
| b) | With a neat sketch explain the hot air oven and its applications. |  |
| Q.No.4. | With a neat diagram explain the working of PCO2 and PO2 electrode. | (12) |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the continuous flow analyser in detail. |  |
| b) | Write a short note on power sources and wavelength selectors. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Haematocrit determination |  |
| b) | Agents of sterilization |  |
| c) | pH electrode |  |
| d) | Lambert Beers law |  |

***********