## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Medical Electronics

Subject: Ventilator Management(MX612) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain in brief the operation of a control valve. |  |
| b) | Explain in brief the term “Nasal continuous positive airway pressure in Neonates’’. |  |
| c) | Explain in brief how you will determine the need to provide mechanical ventilator support for neonates. |  |
| d) | Name any six Ventilator alarms. |  |
| e) | Explain in brief the I:E ratio setting of a ventilator. |  |
| f) | Explain in brief the four phases of a breath. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain tank ventilator (iron Lung). |  |
| b) | Explain the following terms: i) Minute volume ii) Airway resistance iii) Continuous positive airway pressure. |  |
| c) | Write notes on: (any two) i) Elements of a mechanical ventilator ii) Positive pressure ventilator iii) Microprocessor controlled ventilator |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the advantages and disadvantages of positive pressure ventilators over negative pressure ventilators. |  |
| b) | Explain the following terms: i) Positive End Expiratory pressure ii) Spontaneous Ventilation iii) Mandatory Minutes Volume Ventilation. |  |
| c) | Write notes on: - Basic elements of a patient circuit - Classification of ventilators |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different types of breaths. |  |
| b) | Explain the basic model of ventilation in the lungs during inspiration. |  |
| c) | Explain the following modes of ventilation: - Continuous Mandatory ventilation - Synchronized Intermittent Mandatory ventilation |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the Tidal Volume setting in pressure targeted ventilation. |  |
| b) | Explain the flow rate and Respiratory rate setting. |  |
| c) | Explain the optimisation of ventilator setting for better oxygenation. |  |
| Q.No.6. | Write notes on any two: | 2 x 6 = 12 |
| a) | Low airway pressure limit alarm |  |
| b) | Low oxygen concentration alarm |  |
| c) | Apnea alarm |  |

***********