## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2016 Examinations

Programme: Architectural Engg.

Subject: Building services-II(4533)/(AE403) [Old/Recvised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Why is stack effect popularly used in buildings? |  |
| b) | Which are the various factors the duct size of a centrally air conditioned space affects? |  |
| c) | Define thermal insulation. |  |
| d) | Which are the defects caused due to reflected sound? |  |
| e) | What is structure borne noise? |  |
| f) | What does a 4-hour grading of a structural element of a building mean? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with examples of sketches, the various possibilities of movement of wind through a single room, by changing the window position or the orientation of the room. |  |
| b) | Explain with a schematic diagram, the basic refrigeration cycle used in an air-conditioner. |  |
| c) | Differentiate between the exhaust system and the supply system of mechanical ventilation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short notes on: (i) Conduction (ii) Convection (iii) Radiation in a building. |  |
| b) | Discus the properties of a thermal insulation material. |  |
| c) | Explain any 2 methods of thermally insulating exposed doors and windows. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short notes on: (i) Reverberation (ii) Dead spots (iii) Sound foci. |  |
| b) | Draw a sketch across a typical auditorium and explain the factors required to be considered for its acoustical design. |  |
| c) | Differentiate between (i) Porous material absorbers (ii) Resonant panels acoustical absorbers. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with neat sketches any 2 methods of sound insulating the vertical barriers in a building. |  |
| b) | Explain the sound insulation of a (i) Timber floor (ii) Concrete floor. |  |
| c) | Differentiate between the following sound insulating materials (i) Non-porous rigid materials (ii) Porous rigid materials. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between combustible materials and non-combustible materials. |  |
| b) | Discuss the precautions taken to make a timber construction fire resistant. |  |
| c) | Explain with sketches the fire protection given to steel columns. |  |

***********