## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103)/(EE303)

[Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give two points of comparison between absolute and secondary instruments. |  |
| b) | Explain the effect of control torque obtained by spring control method on the scale of the measuring instrument. |  |
| c) | Explain loading effect in measuring instrument. |  |
| d) | Explain error due to connections in Wattmeter. |  |
| e) | Give the name of suitable method for measurement of i) Low resistance ii) Medium resistance iii) High resistance. |  |
| f) | Give disadvantages of shunt and multiplier over instrument transformer for extension of range of measuring instrument. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain various errors and ways to minimise the errors in instruments during measurement. |  |
| b) | Explain classification of instrument based on accuracy and permissible error. |  |
| c) | What is the importance of damping torque in measuring instrument? With a neat diagram briefly explain any two methods of obtaining damping torque. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of permanent magnet moving coil instrument. |  |
| b) | List and explain errors in moving iron instrument. |  |
| c) | With a neat diagram explain construction and working of rectifier type instrument. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat diagram explain construction and working of dynamometer type of wattmeter. |  |
| b) | Explain the effect of load power factor on readings of wattmeter. |  |
| c) | Two wattmeters connected to measure the input to a balanced 3 phase circuit indicates 3200 watts and 900 watts respectively. Find power factor of circuit when i) Both readings are positive ii) the latter reading is obtained after reversing the connection to current coil of second wattmeter. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on single phase induction type energy meter. |  |
| b) | With a neat diagram explain working of Kelvin bridge for low resistance measurement. |  |
| c) | With a neat diagram explain construction and working of series type ohmmeter. |  |
|  | -2- | ……2/- |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain extension of range of DC Voltmeter using multiplier. |  |
| b) | With a neat diagram explain extension of range of single phase induction type energy meter using current transformer and potential transformer. |  |
| c) | With a neat diagram explain construction and working of electrodynamometer type of power factor meter. |  |

***********