## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(AE306) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the term ‘wholesome water’. |  |
| b) | State the water requirement for following types of buildings as per I.S. recommendation: - Residence (ii) Hospital (iii) School |  |
| c) | State any three purposes of house drainage. |  |
| d) | Draw conventional symbols for (i) Kitchen sink (ii) Drain cock (iii) Water closet (Indian). |  |
| e) | State the function of circuit breaker. State the types of circuit breakers used in electrical wiring. |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | Write a note on classification of sanitary fixtures. | (6) |
|  | ### OR |  |
| a) | Write short notes with sketches on intercepting trap and manhole. | (6) |
| b) | Draw a neat labelled and dimensioned sketch of any one type of water closet including trap. | (3) |
| c) | Draw a neat labelled cross-section through a bell type flushing cistern. | (3) |
| Q.No.3. | Answer the following Questions: |  |
| a) | State any six principles that govern design of efficient drainage system. | (6) |
|  | ### OR |  |
| a) | List the tests conducted for testing drains. Explain any one method adopted for cleaning of drainage system. | (6) |
| b) | Draw labelled sketch of waste fitting for a domestic kitchen sink. | (3) |
| c) | State any three considerations for design of storm water drainage scheme. | (3) |
| Q.No.4. | Answer the following Questions: |  |
| a) | Prepare a water supply layout for enclosed Bungalow plan. Suggest appropriate location of water meter. | (6) |
|  | ### OR |  |
| a) | Draw neat sketches of any three of the following GI fittings and pipes: (i) Square head pipe plug (ii) Shoulder nipple (iii) 45 degree elbow (iv) 90 degree elbow | (6) |
| b) | State the purpose of water meter. State two requirements of a water meter. | (3) |
| c) | Define and state advantage of a catchment area as a source of water supply. | (3) |
| Q.No.5. | Answer any two of the following Questions | 2 x 6 = 12 |
| a) | Name any two types of pipes used in domestic water supply. Write three specific characteristics of each. |  |
| b) | List the components of a domestic service connection. Briefly explain each. |  |
| c) | Draw a neat sketch of storage water tank for a house hold. Describe the functioning of tank. | …….2/- |
|  | -2- |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | Prepare an electrical layout for the plan enclosed. Suggest appropriate location for the meter box. | (6) |
|  | ### OR |  |
| a) | Define a socket outlet. Write a brief note on types of socket outlets. | (6) |
| b) | State the objectives of Earthing. Draw a sketch of pit and label all the components of Earthing pit. | (3) |
| c) | How is house wire rated? State the color codes used in house wiring. | (3) ……2/- |