## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electrical Engg./E&EE

Subject: Power Generation, Transmission & Distribution(5091)/(EE304)

[Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define i) Load factor ii) Maximum demand. |  |
| b) | Briefly explain classification of overhead transmission line. |  |
| c) | Line 3 points of comparison between AC 2 wire and AC 3 wire system. |  |
| d) | State the factors affecting earth resistance. |  |
| e) | State any 3 I.E. rules related to domestic wiring. |  |
| f) | What do you mean by sag? |  |
| g) | List the methods to improve earth resistance. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat schematic diagram explain the operation of Nuclear Power Plant. |  |
| b) | Briefly explain what do you mean by base load & peak load. Compare base load & peak load power stations. |  |
| c) | What do you understand by grid system? Give the merits & demerits of grid system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the various conductors used in transmission line. Also state the advantages & disadvantages of each. |  |
| b) | State the effects of resistance, induction and capacitance of lines on the performance of transmission line. |  |
| c) | What do you mean by Corona? State and explain methods to reduce corona loss. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss voltage distribution and string efficiency with respect to transmission line. |  |
| b) | State advantages & disadvantages of HVDC transmission system. |  |
| c) | Compare radial, ring & interconnected system of connection. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain i) Feeder ii) Distributor iii) Service mains. |  |
| b) | Derive and compare the volume of conductor material required in DC 2 wire system with AC single phase system. |  |
| c) | State the advantages and disadvantages of PVC casing and capping type wiring. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain godown wiring. |  |
| b) | With a neat diagram explain pipe earthing. -2- | ……..2/- |
| c) | A house (with 1 connection) is to be wired with PVC casing & capping wiring system consisting of following points: - Light points – 20 Nos. each of 60 watts - Fan points – 10 Nos. each of 60 watts - Wall socket points – 5 Nos. each of 60 watts - Power socket points – 5 Nos. each of 1000 watts Determine the i) Total light & fan load ii) Total power load iii) Main switch rating iv) No. of sub-circuits required. |  |

***********