## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Medical Electronics

Subject: Nuclear Medicine(MX611)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain Gamma particles in detail. |  |
| b) | i) Define Radioactivity. ii) State the Radioactive decay law. |  |
| c) | What is the function of Photo multiplier tubes? |  |
| d) | What is SPECT? |  |
| e) | Explain Collimator in brief. |  |
| f) | What is radioactive waste? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss about the units of radioactivity measurement. |  |
| b) | Explain in detail interaction of Alpha radiation with matter. |  |
| c) | Explain PET Date acquisition in detail. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat diagram inorganic scintillation detector. |  |
| b) | Discuss about the different processes in a scintillation detector. |  |
| c) | Explain radio pharmaceutical localization in detail. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are nuclear medicine scans used for? |  |
| b) | Explain using suitable block diagram working of SPECT. |  |
| c) | Explain the uses of PET scanning and its limitations. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss about Radio pharmaceutical selection in detail. |  |
| b) | Explain using suitable block diagram working of rectilinear scanner. |  |
| c) | Explain using suitable block diagram working of gamma camera. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the methods of disposal of radioactive waste. |  |
| b) | Discuss about the internal radiation exposure. |  |
| c) | Explain Biological effects of radiation exposure. |  |

***********