## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg.

Subject: Energy Systems(Non Conventional) [EE514] [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write down any three disadvantages of conventional energy sources. |  |
| b) | State any three applications of Solar furnace. |  |
| c) | State any three advantages of solar photovoltaic system. |  |
| d) | Why is grounding of solar photovoltaic equipment important? |  |
| e) | What are the advantages of using wind energy? |  |
| f) | State any three applications of Solar pond. |  |
| g) | Explain in brief fermentation process. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss briefly the various non-conventional sources of energy. |  |
| b) | Write a short note on consumption trend of primary energy sources. |  |
| c) | i) State any three advantages of non-conventional energy sources. |  |
|  | ii) Explain in brief principle of photovoltaic cell. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram explain the working of liquid flate plate collector. |  |
| b) | Explain the working of a solar furnace with the help of a neat sketch. |  |
| c) | Explain the construction and working of a box type solar cooker with a neat sketch. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram, explain a solar hybrid photovoltaic system. |  |
| b) | Explain a typical solar photovoltaic stand alone system with the help of a sketch. |  |
| c) | Write a short note on ‘grounding of photo voltaic power systems’. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain a typical photovoltaic grid tied system with battery backup. |  |
| b) | Explain in brief steps involved in sizing of a solar photovoltaic system. |  |
| c) | Discuss the environmental aspects of a wind energy system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a block diagram explain various components of a wind energy conversion system. |  |
| b) | i) Explain briefly the working of a packed bed exchanger storage unit with the help of a sketch. |  |
|  | ii) What do you understand by direct combustion? |  |
| c) | Explain briefly with a sketch, the working of fixed dome type biogas plants. |  |

***********