## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg.

Subject: Energy Management(EE611)/(5108) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the importance of flattening of load curve. |  |
| b) | Briefly explain the concept of energy security. |  |
| c) | Calculate maximum demand for following cycle of 30 minutes load. 2500 KVA for 4 minutes 3600 KVA for 12 minutes 4100 KVA for 6 minutes 3800 KVA for 8 minutes |  |
| d) | Define the term motor loading. The rated current of a motor is 50A & the actual load current is 28A. Determine percentage loading of motor. |  |
| e) | Explain the need of energy audit. |  |
| f) | Write a short note on energy efficient transformer. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat diagram, explain the generation of demand load curve. Explain any three methods of flattening of load curve. |  |
| b) | Briefly explain the features of Energy Conservation Act 2001. (any six features) |  |
| c) | Name the different types of audits and explain each one in brief. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain the different components of electrical tariff system. |  |
| b) | Explain step by step approach for maximum demand control. |  |
| c) | Explain the need for electrical load management. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the cost benefits and technical advantages of power factor improvement. |  |
| b) | List down the methods of determination of percentage loading of motor. Explain one method which uses only techometer for determination of percentage motor loading. |  |
| c) | i) Define the terms: i) Lumens ii) Circuit watts. ii) List down the preparations to be made before taking measurements for energy performance assessment of lighting system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different methods for measurement of flow in determination of efficiency of pump. |  |
| b) | i) Write a short note on system resistance curve of pumps. ii) Define the following terms in connection with pumps: - Total head developed 2. Hydraulic power | …….2/- |
|  | -2- |  |
| c) | List down the areas of watt loss in motors and explain the modification to be carried out for making energy efficient motors. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write short note on Automatic power factor controllers. |  |
| b) | Write short note on soft starters and its advantages. |  |
| c) | Write short note on lighting controls as energy efficient technology. |  |

***********