## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Architectural Engg.

Subject: Estimation & Costing(AE503)/(4529) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | State any three qualities a good estimator should possess. | (3) |
| b) | State the units used for measurement of following items of work: i) Ceiling Plaster ii) RCC work iii) Rubble soling in plinth iv) Wash Basin. | (4) |
| c) | State two advantages of obtaining intermediate measurements on site in billing. | (4) |
| d) | State the factors that affect the rate analysis of R.C.C items of works of a building. | (4) |
| Q.No.2. | Calculate and tabulate the quantities of any two of the following item of works. Refer fig.1. | 2 x 6 = 12 |
|  | i) Excavation in foundation |  |
|  | ii) PCC in foundation |  |
|  | iii) Masonry in foundation |  |
| Q.No.3. | Calculate quantities of any two of the following items of work and prepare bill with references to fig.1. | 2 x 6 = 12 |
|  | i) Internal flooring including dado in toilet |  |
|  | ii) Laterite masonry in superstructure |  |
|  | iii) 12mm thick internal plaster for masonry works in superstructure |  |
|  | only for students of revised scheme: |  |
| Q.No.4. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Give two characteristic features of a detail estimate. |  |
| b) | State any four items of works considered in estimation upto plinth level. |  |
| c) | Write a short note on measurement book on site. |  |
| Q.No.5. | Prepare the measurement sheet and abstract sheet for any two of the following. Refer fig.2. | 2 x 6 = 12 |
|  | i) RCC elements above plinth |  |
|  | ii) Cement plastering for all components above ground level |  |
|  | iii) Floor finishing with suitable material. Make necessary assumptions. |  |
| Q.No.6. | Answer the following questions: |  |
| a) | Explain ‘Billing’. | (4) |
| b) | Prepare rate analysis for any two items of works given below: - Internal painting in two coats for old building surface (100m2) with plastic emulsion. - 23cm Laterite masonry wall in cement mortar 1:3 - RCC in slab (1:1.5:3) for 12m3 Make suitable assumption for rates. | (8) |
|  |  | ……2/- |
|  | -2- |  |
|  | only for the students of old scheme: |  |
| Q.No.4. | Answer any three of the following questions | 3 x 4 = 12 |
| a) | State any four considerations for calculation of plinth area. |  |
| b) | What is the role of Architectural Engineer in estimation and costing? |  |
| c) | Write a brief note on cubic content method of estimate. |  |
| d) | State the advantage of preparing approximate estimate. |  |
| Q.No.5. | Answer the following Questions: |  |
| a) a) | Write three points to differentiate plinth area estimate from carpet area estimate. ### OR State three points to differentiate estimate from billing. | (6) (6) |
| b) b) | What is ‘schedule of rates’? Explain its use in estimation. ### OR Write a detail electrical installation estimate for a residential house. Consider any three items of works. | (6) (6) |
| Q.No.6. | Answer the following questions: |  |
| a) | Work out the rate analysis of following item of works i.e provision of 5A plug point 3 metres away from switch board. | (4) |
| b) | Prepare rate analysis for any two of the following: - Internal painting in two coats for old building surface (100m2) with plastic emulsion - 23cm Laterite masonry wall in cement mortar 1:3 - RCC in slab (1:1.5:3) for 12m3 Assume suitable rates. | (8) |