## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Name any three applications of a CRO. |  |
| b) | Explain any three advantages of an optical fibre sensor. |  |
| c) | Explain in brief what is meant by sterilization. |  |
| d) | Name any three different types of white blood cells. |  |
| e) | Define the following: i) Tidal volume ii) Residual volume. |  |
| f) | Name any three different types of Spirometers. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain the operation of a DSO. |  |
| b) | With a neat sketch explain a biosensor. |  |
| c) | Explain recording electrodes used in making bio-electric measurements. |  |
| d) | Explain electrode polarisation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch, explain the principle of a colorimeter. |  |
| b) | With a neat sketch, explain the principle of a clinical flame photometer. |  |
| c) | Write note on: i) Spectrophotometer ii) Computers in clinical chemistry laboratory |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the method of counting blood cells using a microscope. |  |
| b) | Explain the principle of a Coulter counter. |  |
| c) | With a neat sketch, explain a ‘picoscale’ counter. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is a pneumotachometer? With a neat sketch explain a ‘Fleisch pneumotachometer’. |  |
| b) | What is spirometry? Explain the working of a Wedge spirometer. |  |
| c) | Explain what is meant by pulmonary function measurements. |  |
| Q.No.6. | Write notes on any two: | 2 x 6 = 12 |
| a) | Microprocessor controlled photometer |  |
| b) | Types of blood cells |  |
| c) | Motion artifacts |  |
| d) | Electrical conductivity of electrode jellies and creams |  |
| e) | Flow volume curve |  |

***********