## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg.

Subject: Non Conventional Sources of Energy(3009) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain solar radiation at earth surface. |  |
| b) | Compare two points of difference between single stage process and double stage process continuous biogas plant. |  |
| c) | List the different Geothermal energy resources. |  |
| d) | What is the need of solar energy storage? |  |
| e) | Define the term i) Wind speed 2) Lift related to wind energy. |  |
| f) | List different biomass resources. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of flat plate liquid collector. |  |
| b) | With a neat diagram explain construction of compound parabolic concentrator. Give at least two advantages of same. |  |
| c) | List the different types of focusing solar collector. With a neat diagram explain working of any one type. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of solar pond. Give any three of its applications. |  |
| b) | Give advantages (any six) and disadvantages (any two) of photovoltaic solar energy conversion. Also give any four applications of the same. |  |
| c) | With a neat diagram explain the working of a solar furnace. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain construction and working of solar distillation. |  |
| b) | Give any four advantages and any four disadvantages of fixed dome type biogas plant. |  |
| c) | With a neat diagram explain construction and working of KVIC digester. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give any four advantages and any four disadvantages of wind energy conversion system. |  |
| b) | Give classification of wind energy conversion system. |  |
| c) | With a neat sketch explain physical embodiment of wind electric generating system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give any four advantages and any four disadvantages of Geothermal energy over other energy form. |  |
| b) | Explain power generation by double basin arrangement in tidal energy conversion. |  |
| c) | List the components of hydro-electric scheme and give functions of each components. |  |

***********