## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(EN607)/(4218) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Compare the features of Orifice plate and Venturi tube. |  |
| b) | State the temperature ranges of any two types of thermocouples and one RTD. |  |
| c) | Explain the calibration procedure of pressure transmitter. |  |
| d) | Describe the procedure for servicing hydrostatic type level measurement instruments. |  |
| e) | Explain any one technique used for mass flow measurement. |  |
| f) | Define Reynolds number and state the cut off limit for turbulent and laminar flow. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the application of Doppler effect in the measurement of flow with the help of a neat diagram. |  |
| b) | Explain the working of turbine flow meter with the help of a diagram. |  |
| c) | Explain the principle of variable head flow meter with the help of a neat diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain Seeback effect, law of intermediate metals and intermediate temperatures. |  |
| b) | Draw the diagram of a liquid in glass thermometer and explain the working. |  |
| c) | Explain the working of an optical pyrometer with help of a diagram and state one application. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of inclined plane manometer with the help of a diagram. State its advantages. |  |
| b) | Suggest a suitable instrument for measurement of vacuum pressure and explain its working with the help of a diagram. |  |
| c) | Discuss angularity and multiplication adjustments in C type Bourdon tube. Explain how backlash is minimised. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of Air purge system used in level measurement with the help of a diagram. |  |
| b) | Explain the construction and working of a hydrostatic pressure type level measurement system using pressure gauge. |  |
| c) | Explain the working of a capacitive level measurement system with the help of a diagram. |  |
|  |  | …….2/- |
|  | -2- |  |
|  | only for students of revised scheme: |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of vortex swirl and vortex shedding meter with the help of neat diagram. |  |
| b) | Draw the circuit of V to I converter and explain the working. |  |
| c) | Explain the technique of sight glass method of level measurement in pressurised vessels with the help of a diagram. |  |
|  | only for students of old scheme: |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of a pressure control system and explain the function of each block. |  |
| b) | Describe a practical application of closed loop control system of flow with the help of a block diagram. |  |

***********