## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | With a diagram describe briefly a typical temperature control system using Direct Digital Control. | (4) |
| b) | Write short notes on Process Hardware. | (4) |
| c) | What is process equation? Briefly describe with an example. | (2) |
| d) | Draw the circuit diagram of implementing PID controller using Opamp. | (2) |
| e) | What is a simple alarm? | (1) |
| f) | Define Valve flow coefficient. | (1) |
| g) | What are multivariable control systems? | (1) |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a flow chart of the process shown in fig.1. Objective of the process is to fill bottles. |  |
| b) | Draw the ladder diagram symbols for Level limit switch and Pressure limit switch & also draw a ladder diagram for a light latch. |  |
| c) | What are output modules? Describe the interconnection of an output module to a processor with an example. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe 2 position and multiposition discontinuous controller modes. |  |
| b) | Describe briefly any two continuous controller modes. |  |
| c) | Describe the following control system parameters: Control lag, Dead time, Cycling. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe with diagrams implementation of Derivative and Positional Integral (PI) Controller modes using Opamp. |  |
| b) | Describe with diagrams implementation of Integral and Proportional Derivative (PD) controller modes using pneumatic controllers. |  |
| c) | Draw a neat diagram and explain PID controller implementation using Pneumatic controller. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain briefly computer supervisory control with a block diagram. |  |
| b) | Explain Computer based controller with a neat block diagram. |  |
| c) | Describe the general features of a cascade system. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is over damped, critically damped and under damped response? Briefly describe each. |  |
| b) | Describe Pneumatic signal conversion elements. |  |
| c) | Describe any three types of electrical actuators. | …….2/- |