## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electrical Engg.

Subject: Electrical Engineering Materials(4101) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Why copper is use in the windings of electrical machines even though it is expensive? |  |
| b) | List out any four properties and two applications of carbon. |  |
| c) | List out any six materials commonly used as semiconductors. |  |
| d) | What is Dielectric loss? State the factors affecting dielectric loss. |  |
| e) | Explain the term “magnetostriction” in Ferro-magnetic material. |  |
| f) | State any three general properties of Varnishes. |  |
| g) | What are radioactive materials? Give any two applications of radioactive materials. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out any four properties and two uses of: - Aluminium ii) Molybdenum conductor material |  |
| b) | List our any four properties and two uses of: - Silver ii) Mercury |  |
| c) | i) State the conductor material used for Busbars and HRC fuses. ii) State any four materials used for manufacturing cables. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare Germanium rectifier with Silicon rectifier. |  |
| b) | Write a short notes on: - Thermistors ii) Photoconductive cells |  |
| c) | i) Write a short note on Piezo-electric material and state its two applications. ii) State any two important features of varistors and give its two applications. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on conduction through gaseous dielectric. |  |
| b) | Explain the process of polarisation of a dielectric material. |  |
| c) | Explain dielectric loss in dielectric material. Also derive an expression for dielectric loss. State the factors affecting dielectric loss. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on “Thermosetting resins”. |  |
| b) | i) State any six important properties of mineral oil. ii) Explain the purpose of oil used as insulator in transformer and switchgear. |  |
| c) | State any four properties and two uses of: - Eureka ii) Platinum |  |
|  |  | …..2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the effect of impurities on Ferromagnetic materials. |  |
| b) | i) Write a short note on Cold Rolled grain oriented steel. ii) What is hysteresis loss in magnetic material? | (4) (2) |
| c) | Write a short note on fluorescent and phosphorescent materials. |  |

***********