## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Comp. Control In Process Plant(EN608) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw the block diagram of Hierarchical control system. |  |
| b) | Explain the role of Final Control Element in Process Control Loop. |  |
| c) | Define ‘Process Load’ and ‘Process Lag’. |  |
| d) | Explain the term ‘Polling’ in SCADA. |  |
| e) | List any three advantages of Distributed Control System. |  |
| f) | Define ‘Error’ and ‘Dead Time’ in Process Control System. |  |
| g) | List any three requirements of a Plant Operator in a Distributed Control System. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of a Centralized Computer Control System and explain the same. |  |
| b) | Explain the Multiposition Discontinuous Controller Mode. Draw relevant waveforms and state expressions for the same. |  |
| c) | Explain Ratio Control with necessary diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a block diagram, explain Final Control Operation. |  |
| b) | Explain the working of Hydraulic Servo as a Hydraulic Actuator. |  |
| c) | Explain how a Relay performs signal conversion in the Final control operation. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List the different Continuous Controller Modes. Explain any one in detail. |  |
| b) | Explain Fuzzy Logic System. |  |
| c) | Explain the PD Composite Controller Mode with relevant waveforms and expressions. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw block diagram of SCADA and explain the same. |  |
| b) | Explain Daisy chain configuration of distributed SCADA. |  |
| c) | Explain the special software facilities required in Remote Terminal Units. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the functional requirements of a Distributed Control System. |  |
| b) | Compare Distributed and Centralized Computer Control System. |  |
| c) | Draw the block diagram of a Thermal Power Plant automation system and explain the same. |  |

***********