## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(AE403)/(4533) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the major components with their function of a split air conditioner. |  |
| b) | Explain briefly phenomenon of i) conduction ii) convection. |  |
| c) | State the purpose of using sound absorbing materials. List any two such materials. |  |
| d) | How can noise control be achieved by appropriate location of building? |  |
| e) | State the function of smoke detectors. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain basic refrigeration cycle and state 3 advantages of refrigeration. |  |
| b) | A hall for 500 people needs to be provided with either natural or mechanical ventilation system. Offer your suggestion with reasons. |  |
| c) | Write a brief note on air distribution in air conditioning system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State and explain the general methods of thermal insulation. |  |
| b) | Explain any one method of construction followed for thermal insulation of roofs. |  |
| c) | State the considerations adopted for selection of insulating materials. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the basic purpose of Acoustics and explain how it is applied for a classroom. |  |
| b) | List and classify the types of acoustical materials. |  |
| c) | Draw neat labelled plan and section through a typical auditorium to indicate placement of sound absorbents and sound reflective materials. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the objectives of noise isolation. |  |
| b) | Draw and explain the constructional methods for noise insulation of floors. |  |
| c) | State the measures that could be suggested to make a room soundproof. |  |
|  | For students of Revised scheme only: |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Why is fire fighting system considered to be of utmost importance in multistoreyed building? |  |
| b) | State any three general fire safety requirements for buildings. | ……2/- |
|  | -2- |  |
| c) | Write a short note on provision of fire escape elements in building. |  |
|  | For students of Old scheme only: |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | Write a brief note on Fire alarms. | (6) |
|  | OR |  |
| a) | Write a brief note on fire resisting properties of stone and concrete. | (6) |
| b) | Draw a sketch of pillar hydrant. | (3) |
|  | OR |  |
| b) | List the components of fire hose cabinets. | (3) |
| c) | Write a brief note on ventilation by stack effect. | (3) |
|  | OR |  |
| c) | Explain how velocity of wind is affected by positioning of opening. | (3) |

***********