## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain haematocrit determination. |  |
| b) | Explain the agents of sterilization in brief. |  |
| c) | Write a short note on PH electrode. |  |
| d) | Distinguish between serum and plasma. |  |
| e) | Explain hot air Oven. |  |
| f) | Draw and explain the equivalent circuit of biopotential electrode interface. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat block diagram explain blood cell counter. |  |
| b) | Explain colorimeter in detail. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the working of an autoclave instrument. |  |
| b) | Explain how gases can be used for sterilisation. |  |
| Q.No.4. | With the help of a neat diagram explain continuous flow analyzer. | (12) |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain the working of PO2 electrode. |  |
| b) | Write a short note on Blood Gas Electrodes. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Computers in Clinical Laboratory |  |
| b) | Steamer |  |
| c) | Biochemical Transducers |  |
| d) | Test on Blood cells |  |

***********