## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(MX403) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain strain gauge pressure transducers. |  |
| b) | What is BCG and EOG? |  |
| c) | Explain air conduction and bone conduction with an appropriate graph. |  |
| d) | Describe the ultrasound method for cardiac output measurement. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain how LVDT can be used for the measurement of physiological pressure with an appropriate diagram. |  |
| b) | With the help of a neat diagram explain barrier layer cell. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Draw and explain the normal ECG waveform along with its parameters. |  |
| b) | With the help of a block diagram explain EEG. |  |
| Q.No.4. | Answer the following Questions: |  |
| a) | Explain the different types of Hearing Aids. | (8) |
| b) | What should be the general requirements of audiometers? | (4) |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram of magnetic flowmeters. |  |
| b) | Describe plethysmography with a neat diagram. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Transducers for body temperature measurement |  |
| b) | Evoked Potentials |  |
| c) | Pure tone Audiometer |  |
| d) | EMG |  |

***********