## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194) [Old]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | What is infrared therapy? Mention its advantages. |  |
| b) | Describe the sources of radioactivity for Nuclear Medicine. |  |
| c) | Explain what are capacitive transducers. |  |
| d) | Define Common Mode Rejection Radio and explain Isolation Amplifier. |  |
| e) | What is amplitude and phase distortion? |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | Explain the use of Cryogenics in medicine. What are the precautions to be taken when using it? | (8) |
| b) | Explain Hyperbaric oxygen therapy. | (4) |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain scintillation detector system. |  |
| b) | Explain any one Nuclear Medicine Imaging device. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram explain strain gauge. |  |
| b) | Write a short note on photoelectric transducers. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain transistor differential amplifiers. |  |
| b) | With a neat diagram explain damped resonant system. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Nebulizers |  |
| b) | Gamma Camera |  |
| c) | Principles of Radiation therapy |  |
| d) | Buffer Amplifier |  |

***********