## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Fabrication Technology & Erection Engg.

Subject: Fabrication Process-I(FE303)/(4233) [Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the principle of Vernier Calliper. |  |
| b) | What are the possible errors with eye measurement? |  |
| c) | Draw a neat sketch of Vernier Height gauge and label its parts. |  |
| d) | What are feeler gauges? Give their uses. |  |
| e) | Differentiate between wire gauge and thickness gauge. |  |
| f) | List important safety precautions during use of Power Hack Saw machine. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the following errors and how do we take care to avoid them: i) Environmental error ii) Error due to deformation of stylus and work piece iii) Parallax error. |  |
| b) | Sketch a Universal Bevel Protractor and label its different parts. Explain its working in brief. |  |
| c) | Sketch the following and explain its uses: (any two) - Adjustable Swivel Angle block - Dividers & Compass - Magnetic Vee block |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch an external micrometer and label its different parts. Explain its principle of working. |  |
| b) | Explain the construction and use of the following i) Plumb board ii) Water line iii) Alignment telescope. |  |
| c) | Explain the method of marking out bolt holes for flanges. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different types of dial indicators? State advantages of a good dial indicator and care required to maintain it. |  |
| b) | With a neat sketch explain the use of pipe square. |  |
| c) | Write a note on uses of templates and materials used for templates. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of circular metal saw. |  |
| b) | Explain the basic principle of flame cutting. |  |
| c) | Explain working of nozzle mix cutting torch. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Band sawing machine |  |
| b) | Use of beam trammels |  |
| c) | Snap Gauge |  |
| d) | Protection and storage of templates |  |
| e) | Types of fits in assembly |  |

***********