## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Civil Engg./CT

Subject: Maint. & Repair of Civil Struct.(CE625)/Maint. of Civil Engg. Struct.(5003)

[Old/Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Enlist the causes of deterioration and decay of structure. |  |
| b) | Enlist the typical fire fighting installations for residential building. |  |
| c) | Explain the need for maintenance of water supply system. |  |
| d) | List out the types of maintenance required for roads. |  |
| e) | Enlist the causes of accidents in maintenance works. |  |
| f) | Explain the process of maintaining canal profile. (only for students of old scheme) |  |
| f) | What is structural health monitoring of ocean structures? Write in brief. (only for students of revised scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the detailed classification of repairs and maintenance. |  |
| b) | Describe various health and safety requirements in maintenance of structure. |  |
| c) | Explain in detail the design considerations and material selections in maintenance works. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss the process of strengthening of existing building foundations. |  |
| b) | Explain the necessary maintenance works required in i) Electrical fitting ii) House plumbing. |  |
| c) | Explain the procedure of inspection and also safety precautions required for maintenance of water supply. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the procedure of detection of leakage in pipes and how to prevent the losses. |  |
| b) | State the defects in WBM roads and how it is rectified. |  |
| c) | Explain in detail the repair of road shoulders. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the causes of failure of canal lining and suggest remedial measures. |  |
| b) | Explain in detail the weed growth and its eradication methods in case of canals. |  |
| c) | Explain the procedure of cement grouting in case of hydraulic structures. (only for students of old scheme) |  |
| C) | Why the maintenance of railway track is required? List out the maintenance items. (only for students of revised scheme) |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Maintenance of lifts |  |
| b) | Special Maintenance |  |
|  | only for students of old scheme: |  |
| c) | Routine inspection of hydraulic structures |  |
| d) | Soil stabilisation |  |
|  | only for students of revised scheme: |  |
| c) | Dredging of docks |  |
| d) | Types of maintenance works for marine structures |  |

***********