## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2016 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(MX501) [Rev.]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is leakage current? |  |
| b) | What are the different types of leakage currents? |  |
| c) | List the precautions that are to be taken while working with LASERS. |  |
| d) | Write a note on electrosurgery techniques. |  |
| e) | What is the objective of using PMS? |  |
| f) | What is the need for a defibrillator? |  |
| g) | How is the classification of pacemakers done? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How is the chassis leakage current measured? |  |
| b) | List and explain the power sources used in implantable pacemaker. |  |
| c) | Explain the working of a DC defibrillator with a neat diagram. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How is the leakage current in patient leads measured? |  |
| b) | With a neat diagram, explain the working of a bedside patient monitoring system. |  |
| c) | Explain the principle of surgical diathermy with the necessary diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is micro current shock? Why is it deemed more dangerous as compared to Gross current? |  |
| b) | Explain the method of measuring blood pressure by using clinical sphygmomanometer. |  |
| c) | With the necessary diagram, explain Automatic external defibrillator. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the cardioscope with a neat diagram. |  |
| b) | Describe the different types of pacemakers. |  |
| c) | What are the laser applications in biomedical field? |  |
| Q.No.6. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | Describe in brief: Gross shock. |  |
| b) | State the precautions to be taken to minimize electric shock hazard. |  |
| c) | Explain haemostasis with the help of necessary waveforms. |  |
| d) | What are the various parameters that require continuous monitoring? |  |
| e) | Write a brief note on defibrillator electrodes. |  |
| f) | Explain the construction of pacemaker. |  |

***********