## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Architectural Engg.

Subject: Building Construction-V(4532)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Where is the pile foundation used and why? |  |
| b) | What qualities should a non-load bearing partition wall possess? Write any 3 points. |  |
| c) | Name some materials used as false ceiling. |  |
| d) | Write any 3 advantages of using built in furniture such as cupboard in a bedroom. |  |
| e) | What is an elevator? As compared to a normal lift, what is the difference in a capsule lift. |  |
| f) | Sketch carpentry joints used in making the furniture. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch and explain Raft foundation. |  |
| b) | Compare between concrete pile and timber piles. |  |
| c) | Sketch a detailed section through a basement of a building labelling all its parts. Explain its construction techniques. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the detailed plan and elevation of a timber framed partition cladded with gypsum board. |  |
| b) | Differentiate partition walls over curtain walls. Give 3 important points. |  |
| c) | What are the requirements of a good partition wall? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What kind of partition wall would you suggest for a theater. Sketch its plan showing necessary construction detail. |  |
| b) | Draw a detailed sketch of aluminum framed false ceiling cladded with gypsum board. |  |
| c) | With the help of neat sketch explain the construction detailing of T-Grid false ceiling. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write the advantage and disadvantages of Elevators and Escalators. |  |
| b) | Show the detailing of an Escalator for a shopping mall. Explain its mechanism. Draw a neat plan & section. |  |
| c) | Sketch the design and detailing of built in cupboard for a bedroom. |  |
| Q.No.6. | Answer any one of the following Questions: | (12) |
| a) | A kitchen cabinet mounted with khadappa is to be designed in a residential Bungalow. Sketch the appropriate design with its detailing, showing the respective carpentry joints. |  |
| b) | Write a short note on any 3 types of material used for making furniture in a hospital building. Sketch each type. |  |

***********