## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electronics Engg./EC/EI

Subject: Electronic Measurements(4137)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain Time and Frequency standards. |  |
| b) | Explain in brief different types of errors. |  |
| c) | With a neat diagram, explain the basic principle of PMMC. |  |
| d) | Draw and explain Maxwell’s Bridge. |  |
| e) | What are Lessajous patterns? Explain. |  |
| f) | What is a function generator? Draw its block diagram. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the different static and dynamic characteristics. |  |
| b) | Show how a D’Arsonval movement can be converted into a DC ammeter. |  |
| c) | What is an Universal shunt? Draw and explain. Also list its advantages. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the use of PMMC as a DC voltmeter. |  |
| b) | Draw and explain the use of a bridge to measure capacitance. |  |
| c) | Draw and explain wheatstone’s Bridge. State its advantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain CRT in detail. |  |
| b) | Draw the Horizontal deflection system of a CRO and explain the functions of each block. |  |
| c) | Draw and explain Dual Trace CRO. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the generation if Triggered Sweep. |  |
| b) | Draw and explain square wave and pulse generation. |  |
| c) | List the different characteristics of a pulse. Draw necessary diagram. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of an Audio frequency generator and explain each block. |  |
| b) | Explain working principle of LCD. |  |
| c) | Explain Dot Matrix Display. |  |

***********