## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Distinguish between serum and plasma. |  |
| b) | State Lambert and Beer’s law. |  |
| c) | What are the different tests on blood cells? |  |
| d) | Name any three methods of sterilization and sterilization agent used in each. |  |
| e) | Name any three biochemical transducers. |  |
| f) | Define pH. |  |
| g) | Name any one method of disinfection and briefly explain where it is used. |  |
| Q.No.2. | Write short notes on any two: | 2 x 6 = 12 |
| a) | Automation of chemical tests |  |
| b) | Basic principles of a colorimeter |  |
| c) | Coulter counter |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram describe the operation of a Dark field blood cell counter. |  |
| b) | With a block diagram describe a continuous flow analyzer. |  |
| c) | Describe haematocrit determination. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how ultrasonic vibration can be used for sterilization with a neat sketch of the set up. |  |
| b) | With a neat sketch describe a hot air oven and its applications. |  |
| c) | Explain how gases can be used for disinfection with a neat sketch. |  |
| Q.No.5. | With a neat diagram explain the working of a pH meter and its applications. | (12) |
| Q.No.6. | Write notes on: | 3 x 4 = 12 |
| a) | Blood gas electrodes |  |
| b) | Spectrophotometer |  |
| c) | PCO2 electrode |  |

***********