## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Mechanical Engg./P/FT&EE

Subject: Metrology & Quality Control(4047)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the ‘Sensitivity’ of an instrument. |  |
| b) | With the help of a neat sketch, explain the principle of operation of a sine bar. |  |
| c) | State the working principle of mechanical comparators. Name any three mechanical comparators. |  |
| d) | Define the term ‘Parallelism’. Name the instruments to check parallelism. |  |
| e) | Define the following terms in gear terminology: - Addendum and dedendum - Working deloth - Diametral pitch and module. |  |
| f) | What do you understand by Vendor quality – rating? |  |
| g) | What is ‘Quality mindedness’? How does it help in improving quality of products? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the principle of Vernier Caliper. Define its least count. How is it determined? Explain. |  |
| b) | Differentiate between precision and accuracy with suitable examples. |  |
| c) | Explain with neat sketch the working mechanism of a dial indicator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of sketch describe the working of the Tomlinson surface meter. |  |
| b) | Name various methods for inspecting the involute profile of a spur gear wheel. Describe in brief any one method. |  |
| c) | List the objectives of quality control. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare shop floor inspection and centralized inspection. |  |
| b) | What are the quality cost components? Explain. |  |
| c) | Explain the concepts of variability in measurement. |  |

………2/-

-2-

| Q.No.5. | Answer the following: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Ten samples of size five were subjected to inspection, sample range and sample mean are as gives below. Sample No. 1 2 3 4 5 6 7 8 9 10 Sample range 5 6 5 7 4 8 6 6 4 6 Sample mean 43 49 37 44 45 37 51 46 43 47 Construct X chart. (For n=5, take A2=0.58, D3=0, D4=2.11, d2 = 2.326) |  |
| b) | Design a single sampling plan defined by N = 100, n=5, C=1. |  |
|  | ### OR |  |
| b) | Illustrate producer’s risk and customer’s risk on an operating characteristics curve. |  |
| Q.No.6. | Write short notes on any four of the following: | 4 x 3 = 12 |
| a) | Optical Bevel Protractor |  |
| b) | Requirements of the materials for ‘Gauges’ |  |
| c) | Gauge Tolerance (manufacturing tolerance) |  |
| d) | Root mean square method for surface roughness |  |
| e) | Objectives of control charts |  |
| f) | Method of inspecting concentricity of gear |  |

***********