## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(4533)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five in short: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is meant by Mechanical ventilation? |  |
| b) | Explain the meaning of thermal insulation. |  |
| c) | Explain Acoustics. |  |
| d) | Define the 2 types of Noises? |  |
| e) | What are combustible materials? Mention any 2. |  |
| f) | What is the function of the Evaporator in A/c unit? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the requirements of a good ventilating system? Give 6 points. |  |
| b) | Differentiate between Central air conditioning system and Unitary air conditioning system. |  |
| c) | Write short notes on i) Exhaust system of ventilation ii) Humidification. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain and draw sketches to show thermal insulation adopted for exposed walls. |  |
| b) | Explain general principles of thermal insulation. |  |
| c) | Explain the thermal insulation adopted for roofs, walls and floors using any one type of thermal insulating material. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the precautions to be taken in the acoustical design of a studio. |  |
| b) | Mention any 3 defects mostly noted in auditoriums and explain their remedy. |  |
| c) | What are the conditions for good Acoustics in an auditorium? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain and draw appropriate sketches showing the construction techniques used in insulation of walls from noise. |  |
| b) | Explain transmission of Noise. |  |
| c) | Explain the method of sound insulation when the noise is in the room itself. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the rules to be observed in the design of buildings to make them fire resistant. |  |
| b) | Mention the precautionary measures, which can be taken to avoid or minimize dangers of fire. |  |
| c) | Write short notes on i) Protection of openings from fire ii) Means of escape. |  |

***********