## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Civil Engg.

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the factors to be considered in selecting various materials for maintenance works? |  |
| b) | Stating its importance, describe the structure of Maintenance Cell required in construction industry. |  |
| c) | Stating their suitability, list out various types of contracts for maintenance works. |  |
| d) | Describe general guidelines required for fire proofing in a multistoried structure. |  |
| e) | Explain necessary safety precautions needed in a sewerage system. |  |
| f) | Stating their causes, list out various defects commonly found in roads. |  |
| g) | Describe what do you understand by “ Routine inspection”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the causes of deterioration and decay of structure? Explain necessary precautions required to minimize their damaging effects. |  |
| b) | Giving examples for each, describe the following: - Routine maintenance - Remedial maintenance - Special maintenance. |  |
| c) | Describe how maintenance of following building services are carried out: - Lifts - Water supply system - Lights and ventilation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are causes for loss of head in a water supply line? Describe preventive measures needed for such losses. |  |
| b) | Describe procedure involved in repair of: - Water supply lines - Sewer lines. |  |
| c) | Explain the procedure involved in maintenance work of slow and rapid sand filters. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain pre-monsoon inspection and maintenance work needed for roads and drainages. |  |
| b) | Explain why bleeding occurs in bituminous roads and how do you rectify this defect. |  |
| c) | Describe various steps involved in repair and maintenance of W.B.M. roads. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain various methods employed for desilting of irrigation channels. |  |
| b) | Explain various control measures for weeding of irrigation channels. Describe how do you carryout deweeding of irrigation channel. |  |
| c) | Describe how do you carry out the maintenance and repair of cannel lining to minimise seepage losses. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Pitching |  |
| b) | Soil stabilization |  |
| c) | Defects in plastering and painting |  |
| d) | Antitermite to wood works |  |

***********