## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurement & Instruments(4103)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | A precise instrument need not be accurate say true or false & justify your choice. |  |
| b) | What do you mean by loading effect in a voltmeter? How can it be taken care of? |  |
| c) | What do you mean by creeping? Where it observed? How can it be avoided? |  |
| d) | What are the disadvantages of using ammeter voltmeter method in measuring low resistance? |  |
| e) | State the working principle of rotating type phase sequence indicator. |  |
| f) | Draw the circuit diagram used for measurement of reactive power. Also determine the total reactive power in terms of wattmeter reading. |  |
| g) | Determine the multiplying factor of a 500 watt range of wattmeter when current & voltage rating chosen are 5A & 200V respectively. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the static and dynamic characteristics of a measuring instrument. |  |
| b)i) | What do you mean by parallax error? What is it cause? How can it be minimized? | (4) |
| ii) | How is error due to stray magnetic field minimized in measuring instruments? | (2) |
| c) | State the various effects on the basis of which measuring instruments are classified? Also state at least two examples of instruments satisfying such effect. |  |
| d) | State the essentials of indicating instruments. How are they produced? |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State & explain the working principle of PMMC instrument. |  |
| b)i) | State various types of errors we come across in MI instrument. | (3) |
| ii) | State the advantages of PMMC instrument over MI instrument. | (3) |
| c)i) | State the constructional features of rectifier instrument. | (4) |
| ii) | Define voltmeter sensitivity. | (2) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of a dynomometer type wattmeter & name its parts. |  |
| b) | Draw neat circuit diagram to measure |  |
|  | i)Power consumed by 3 phase, 3 wire balanced load |  |
|  | ii)Power consumed by 3 phase 3 wire unbalanced load |  |
|  | iii)Power consumed by 3 phase, 4 wire balanced load by using minimum number of wattmeters. |  |
| c) | State the constructional features of poly phase wattmeter, with the help of a neat diagram. | ….2/- |

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Draw a neat sketch of single phase Induction type of energy meter & label its different parts. |  |
| b)i) | State the different types of errors in induction type energy meter. Explain in brief how each error can be minimized. |  |
| c)i) | State the different types of ohmmeter you know? Give two points of distinction between them. | (4) |
| ii) | State the disadvantages of using wheatstone Bridge in low resistance measurement. | (2) |
| Q.No.6. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State the constructional features of a megger. |  |
| b) | Draw a neat circuit diagram used to measure current drawn by a load of 15A, when connected to 230V, single phase ac supply using 25/5 C.T. and 250/125 P.T along with ammeter of 0-5 A & voltmeter of 0-150 V range. Also indicate the reading of ammeter & voltmeter. |  |
| c) | Draw a neat circuit diagram used to extend the range of single phase energy meter by using C.T & P.T. |  |
| d) | Explain the principle of operation of 3 phase power factor meter with the help of neat diagram. |  |

***********