## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Civil Engg.

Subject: Construction Advanced-III(5007)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain cofferdam construction at site. |  |
| b) | Mention where jump-forms are used & write its advantages & disadvantages. |  |
| c) | Explain Arch-rib construction with cable support for Bridge. |  |
| d) | Explain what is meant by special concreting operations & name the various operations. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write down the various materials used for lining of chimneys & explain field procedure. |  |
| b) | Explain continuous deck construction with movable forms for bridge. |  |
| c) | Explain grouting & guniting method. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain drilling procedure for deep bore well. |  |
| b) | Write down various cladding materials used for cladding on the exterior surface & write where each one is preferred over the other. |  |
| c) | Explain the application procedures for Mastics & Sealant. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Mention the various types of Roofs used for Factory building and draw a neat figure of one them. |  |
| b) | Explain what is pre-fabricated construction & write down advantages & disadvantages of it. |  |
| c) | Mention various reinforcing materials used in reinforced earth construction & write where each one of them is preferred over the other. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the field procedure of reinforced earth construction. |  |
| b) | Mention various demolition techniques used in the field & precautious to be taken for each one of them. |  |
| c) | Explain wire rope pulling demolition in the field & disadvantage of this method. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Basement excavation |  |
| b) | Ground water survey |  |
| c) | Yield of wall |  |
| d) | Special types of steel roofs |  |
| e) | Areas of application of pre-fabricated construction |  |

***********